FamilyWatchToday

Health Monitor

User Manual

Platform:  Android / Wear OS

Package:  com.monitor.health

Ecosystem:  FamilyWatchToday

Document Date:  August 2026

Table of Contents

1.  Introduction

2.  Getting Started

2.1  First-Time Login

2.2  Granting Permissions

3.  Main Dashboard

4.  Health Metrics

4.1  Heart Rate

4.2  Blood Pressure

4.3  Blood Oxygen (SpO2)

4.4  Body Temperature

4.5  Blood Glucose

4.6  ECG (Electrocardiogram)

4.7  Steps

4.8  Sleep

4.9  Weight & Body Composition

5.  Your Profile

6.  Emergency & Safety Features

6.1  Automatic Fall Detection

6.2  Manual SOS

7.  Communication

7.1  Incoming Calls

7.2  Voice Calls

7.3  Video Calls

7.4  Messages

8.  Pairing Bluetooth Sensors

9.  Viewing Health History

10.  Background Monitoring

11.  Tips & Troubleshooting

1.  Introduction

FamilyWatchToday Health Monitor is a wearable companion app for Android and Wear OS smartwatches. It continuously tracks vital signs, detects emergencies such as falls, and keeps the user connected with family and the care team — all from the wrist.

The app covers four core areas:

Health Monitoring — Heart rate, blood pressure, blood oxygen, temperature, glucose, ECG, steps, sleep, and weight.

Emergency Safety — Automatic fall detection and one-tap SOS with GPS location.

Communication — Voice calls, video calls, and messages.

Cloud Sync — All readings are automatically saved and synced to the FamilyWatchToday platform.

Note: This app works alongside the FamilyWatchToday web platform. Your account is managed by a family administrator or care provider.

2.  Getting Started

2.1  First-Time Login

When the app opens for the first time, the Login screen appears.

Enter your Email address in the first field.

Enter your Password in the second field. Tap the eye icon on the right to show or hide the password.

Tap Login. A loading indicator appears while the app verifies credentials.

Once confirmed, the Main Dashboard opens.

Important: If login fails, check that the email and password are typed correctly. Contact the family administrator if you do not have credentials or need a password reset.

2.2  Granting Permissions

After logging in, the app will request several device permissions. Tap Allow on each dialog.

| Permission | Why It Is Needed |
| --- | --- |
| Body Sensors | Read heart rate, oxygen level, and other vitals from built-in sensors. |
| Location | Send GPS coordinates when an emergency SOS is triggered. |
| Bluetooth | Connect and receive readings from external BLE health sensors. |
| Microphone & Camera | Enable voice and video calls. |
| Accessibility Service | Allow the manual SOS shortcut via the home button. |
| Battery Optimization | Keep monitoring services running continuously in the background. |

Important: If prompted to disable battery optimization, tap Allow. Without this the app may stop monitoring when the screen is off.

3.  Main Dashboard

After login, the Main Dashboard is the central screen. It is built as a series of swipeable pages — each page represents one health metric.

Swipe left or right to move between health metric pages.

A brief loading screen appears while the app retrieves the latest readings.

Once loaded, the first metric page is displayed automatically.

Wear Detection

The app detects whether the watch is on the wrist. If no sensor activity is detected for 5 seconds, a "NOT WORN" overlay appears. It disappears automatically once the watch is back on the wrist.

Note: Make sure the back of the watch sits snugly against the wrist for accurate sensor readings.

4.  Health Metrics

The dashboard contains one page per health metric. Here is an overview of all available metrics:

| Metric | What Is Measured | Source |
| --- | --- | --- |
| Heart Rate | Beats per minute (BPM) | Built-in wrist sensor |
| Blood Pressure | Systolic / Diastolic in mmHg + pulse rate | Paired BLE BP monitor |
| Blood Oxygen (SpO2) | Oxygen saturation percentage + pulse rate | Built-in sensor or paired oximeter |
| Body Temperature | Body temperature in °C or °F | Paired BLE thermometer |
| Blood Glucose | Blood sugar in mg/dL or mmol/L | Paired BLE glucose meter |
| ECG | Heart rhythm electrical trace | Paired BLE ECG monitor |
| Steps | Daily step count | Built-in accelerometer |
| Sleep | Sleep duration and quality | Built-in sleep tracker |
| Weight & Body Comp. | Weight + body fat, lean mass, water, bone mass % | Paired BLE smart scale |

4.1  Heart Rate

The Heart Rate page shows the current beats per minute (BPM) with a pulsing heart animation.

Status labels shown on screen:

Idle — No measurement in progress.

Measuring — A reading is being taken.

[number] BPM — The completed reading value.

Taking a Reading

Ensure the watch is properly on the wrist.

Tap the Measure button.

Hold still for a few seconds while the reading is taken. The BPM value updates automatically.

Manual Entry

To enter a BPM value from another device, tap the input field, type the number, and tap Submit to save it.

4.2  Blood Pressure

Displays the most recent blood pressure reading as Systolic / Diastolic (e.g., 120 / 80) in mmHg, along with:

Pulse rate captured during the measurement.

How long ago the reading was taken (e.g., "5 minutes ago").

A status label: Normal, High, or Low.

Readings are transmitted automatically from a paired BLE blood pressure monitor (see Section 8).

4.3  Blood Oxygen (SpO2)

Shows blood oxygen saturation as a percentage (e.g., 98%) and the pulse rate recorded during the measurement.

Important: A healthy SpO2 level is typically between 95% and 100%. Contact a care provider if readings consistently fall below 95%.

Readings are captured from the watch built-in optical sensor or a paired external pulse oximeter.

4.4  Body Temperature

Displays body temperature in °C or °F (based on the unit preference set in settings) along with the time of the last reading. Temperature is read from a paired BLE thermometer and updates automatically when the sensor sends a new value.

4.5  Blood Glucose

Shows blood glucose level in mg/dL or mmol/L along with the timestamp of the last reading. Glucose data is received from a paired BLE glucose meter after each measurement is taken on the meter.

4.6  ECG (Electrocardiogram)

Displays a visual trace of the heart's electrical activity from a paired ECG sensor. The trace and its timestamp are shown for review by the user and care provider.

4.7  Steps

Shows the total step count for the current day from the built-in accelerometer.

Refreshing the Step Count

Tap the Measure button.

The app reads the latest step count from the accelerometer.

The updated count appears on screen.

A step count can also be entered manually by typing a value in the input field and tapping Submit.

4.8  Sleep

Shows sleep statistics from the previous night, including total sleep duration and quality. If the device supports sleep stage tracking, a stage breakdown (light, deep, REM) is displayed. Tap Measure to sync the latest sleep data from the sensor.

4.9  Weight & Body Composition

Shows the most recent weight in kg or lbs, along with an estimated body composition breakdown:

Body Fat %

Lean Mass %

Water %

Bone Mass %

Body composition is calculated using weight combined with the height stored in the user profile. Weight is sent automatically from a paired BLE smart scale.

Note: To view weight history as a chart, tap anywhere on the Weight page to open the Weight History Graph.

5.  Your Profile

Swipe to the Profile page (last page on the dashboard) to see personal information and access quick-action shortcuts.

What is displayed:

Profile photo and name.

Personal details: age, gender, height.

Quick action buttons.

Current app version.

| Button | Action |
| --- | --- |
| SOS / Emergency | Opens the emergency alert screen to send an SOS with current GPS location. |
| Call | Opens the call screen. |
| Messages | Opens the message inbox. |
| Settings | Opens app and device settings. |

Logging Out

To log out, open Settings from the Profile page and tap Logout.

6.  Emergency & Safety Features

6.1  Automatic Fall Detection

The app continuously monitors movement using the built-in accelerometer. If a sudden fall-like motion is detected, an emergency alert is triggered automatically.

What Happens When a Fall Is Detected

A full-screen alert appears: "We detected you may have fallen or requested Emergency Call."

Two options are presented:

OK — Confirms the fall and sends an SOS alert to the family and care team.

Cancel — Dismisses the alert (use this for false alarms).

If OK is tapped, the following information is sent immediately: current GPS location, device model and OS version, battery level, and a timestamp.

Important: False Alarms: Active exercise, dropping the device, or a sudden arm movement may occasionally trigger fall detection. Tap Cancel to dismiss — no alert will be sent.

6.2  Manual SOS

An emergency alert can be sent manually at any time using either method:

Double-tap the Home button on the device.

Tap the SOS button on the Profile page.

Both methods open the same confirmation screen as automatic fall detection.

Warning: Tapping OK sends a real emergency alert to the family and care team. Only confirm if you genuinely need assistance.

7.  Communication

7.1  Incoming Calls

When someone calls through the FamilyWatchToday platform:

The screen turns on automatically — even from the lock screen.

The caller's name and photo are displayed.

A ringtone plays.

| Button | Color | Action |
| --- | --- | --- |
| Accept | Green (right side) | Answers the call. |
| Decline | Red (left side) | Rejects the call. |

7.2  Voice Calls

Once connected on a voice call, the call status is shown along with three control buttons:

| Button | Action |
| --- | --- |
| Mute | Toggle the microphone on or off. |
| Speaker | Toggle speakerphone on or off. |
| Hang Up | End the call. |

7.3  Video Calls

During a video call:

The user's own camera feed is shown as a preview.

The other person's video fills the main screen.

All video calls use an encrypted, secure connection.

7.4  Messages

Tap Messages from the Profile page to open the inbox.

What Is Shown

Two tabs at the top: Read and Unread.

A scrollable list of messages with sender name, preview text, and timestamp.

How to Use

Tap Unread to filter only unread messages, or Read to see all previously read ones.

Tap any message in the list to open and read its full content.

Note: Messages are sent by family members or care providers through the FamilyWatchToday web platform.

8.  Pairing Bluetooth Sensors

The app connects to external Bluetooth Low Energy (BLE) health sensors for more accurate, clinically validated readings. Supported sensor types:

Blood pressure monitor

Pulse oximeter

Thermometer

Glucose meter

Smart weight scale

ECG monitor

How to Pair a Sensor

Turn on the external sensor and put it into pairing mode (refer to the sensor's own manual).

On the watch, open Settings or the BLE Device Selection screen.

A list of nearby available devices appears. Scroll to find the sensor.

Tap the sensor name.

A confirmation dialog appears — tap Confirm to complete pairing.

Once paired, the sensor will automatically transmit new readings to the corresponding metric page on the dashboard.

Note: Keep sensors within 1–2 meters of the watch for a reliable Bluetooth connection.

9.  Viewing Health History

Weight History Graph

Navigate to the Weight page on the dashboard.

Tap the weight value or the graph area.

A full-screen chart opens showing weight plotted over time with trend lines and min/max markers.

Other Metrics

Some metric pages display a mini chart below the current reading. Scroll or swipe within the page to view recent readings. For full historical data and detailed reports, log in to the FamilyWatchToday web platform from a computer or phone.

10.  Background Monitoring

The app continuously monitors health in the background — even when the watch screen is off. A small persistent notification is visible in the notification bar while monitoring is active. This is normal and expected.

| Service | What It Does |
| --- | --- |
| Heart Rate Monitor | Continuously reads BPM from the wrist sensor. |
| Fall Detection | Listens for fall-like motion via the accelerometer. |
| Step Counter | Tracks the daily step count throughout the day. |
| BLE Scanner | Maintains connection to paired external sensors. |
| Location Tracker | Periodically updates GPS position for SOS use. |
| Data Sync | Uploads new readings to the FamilyWatchToday server. |

Important: Some devices stop background apps to conserve battery. If monitoring stops after a period of inactivity, go to Settings → Battery → Apps → Health Monitor and disable battery optimization for this app.

11.  Tips & Troubleshooting

| Issue | What to Try |
| --- | --- |
| App shows "Fetching data from server…" for a long time | Check Wi-Fi or mobile data. Move to an area with better signal and try again, or restart the app. |
| Health readings are not updating | Ensure the watch is worn snugly. For BLE sensors, confirm they are powered on and within range. Tap Measure to trigger a fresh reading manually. |
| Fall detection keeps triggering incorrectly | Avoid sudden fast arm gestures. Tap Cancel on any false alarm — no SOS will be sent. |
| Cannot receive calls or messages | Check that the app is running (monitoring notification should be visible). Enable notifications for this app and verify internet connectivity. |
| "NOT WORN" overlay will not disappear | Ensure the watch is on the wrist with sensors against the skin. Try repositioning the watch slightly higher. The overlay clears within a few seconds of wear detection. |
| Bluetooth sensor not appearing in list | Make sure the sensor is powered on and in pairing mode. Move it closer to the watch. Restart the sensor and try again. |
| Forgot password | Contact the family administrator or care provider to reset account credentials. |
| App stops monitoring after screen turns off | Disable battery optimization for Health Monitor in device settings (see Section 10). |

Note: For additional support, contact your FamilyWatchToday care coordinator or system administrator.